APPLICATION: 	VEGETATED ROOF SYSTEMS

ASSEMBLY: 		EXTENSIVE/ INTENSIVE GARDENROOF

HYDROTECH® GARDEN ROOF® ASSEMBLY

LONG FORM SPECIFICATION

Note to Specifier: This Guide Specification is suitable for continental US projects; for projects located in Alaska, Hawaii, and Puerto Rico, please consult Sika Hydrotech® for assistance.

Section 07 72 73- Vegetated Roof Systems

PART 1 GENERAL

- SUMMARY

  - This specification serves as a guideline and shall be adapted to suit the needs of each individual project by the architect. It is prepared in accordance with the CSI Master Specification format and shall be included as a separate section under DIVISION 7- THERMAL AND MOISTURE PROTECTION. Improvements and other changes to the contents shall be made only with the written approval of the architect.

- RELATED SECTIONS (NOTE TO SPECIFIER: EDIT AS REQUIRED)

  - Section 07 55 00 – Protected Membrane Roofing- Protected Membrane Roofing- by Sika Hydrotech®

  - Other Related Sections:

    - Section 03 50 00 – Cast Decks and Underlayment- Concrete roof deck surface/ substrate, and curbing.

    - Section 05 30 00 – Metal Decking- Metal roof deck surface/ substrate

    - Section 06 15 10 – Wood Decking- Wood roof deck surface/substrate

    - Section 07 14 13 – Hot Fluid-Applied Rubberized Asphalt Waterproofing- alternate location for Protected Membrane Roofing- by Sika Hydrotech®

    - Section 07 55 56 – Fluid Applied Protected Membrane Roofing

    - Section 07 60 00 – Flashing and Sheet Metal- Sheet metal flashing and counterflashing

    - Section 07 72 00 – Roof Accessories- Curbs and hatches as supplied by Sika Hydrotech®

    - Section 07 92 00 – Joint Sealants- Caulking and sealants by Sika Hydrotech®

    - Section 22 00 00 – Plumbing- Water source

    - Section 31 22 00 – Grading- Fine grading of media

    - Section 32 14 00 – Unit Paving – Paving as supplied by Sika Hydrotech®

    - Section 32 33 00 – Site Furnishings

    - Section 32 80 00 – Irrigation

    - Section 32 93 00 – Plants- Turf, trees, shrubs, groundcovers, bulbs

    - Section 32 94 00 – Planting Accessories – Metal Edging as supplied by Sika Hydrotech®

    - Section 33 00 00 – Utilities

- REFERENCES

  - American Society for Testing and Materials (ASTM).

  - Underwriters Laboratories (UL) Class A.

  - ANSI/SPRI VR-1 2011 “Procedure for Investigating Resistance to Root Penetration on Vegetative Roofs”.

  - International Concrete Repair Institute (ICRI) Concrete Surface Profile (CSP) Scale.

- DEFINITIONS

Green Roof – An area of planting/landscaping, built up on a waterproofed substrate at any level that is separated from the natural ground by a man-made structure.

Extensive Green Roof – Low maintenance landscaping consisting of shallow growing media depths (< 8 inches (152mm)) with plant varieties restricted to primarily mosses, herbs, and succulents capable of withstanding harsh growing conditions.

  - Intensive Green Roof – Landscaping requiring regular maintenance, consisting of deeper growing media depths (> 8 inches (152mm)) with a wider variety of plant species possible including shrubs and small trees.

  - Lawn Green Roof – Lawn oriented landscaping requiring at-grade maintenance. Can include sodded or seeded turfgrasses or naturalized grasses with growing media depths > 8 inches (203mm).

  - Garden Roof® – Patented system of drainage, water retention and root barrier components utilized in the construction of green roofs.

  - Steep Slope Green Roof – Defined as a slope exceeding 3:12 pitch.

- SYSTEM DESCRIPTION (NOTE TO SPECIFIER: EDIT AS REQUIRED)

  - Furnish and install a completed Hydrotech® Extensive or Intensive Garden Roof® Assembly including root barrier protection, drainage course, Hydrotech® Dupont™ Styrofoam™ Insulation, air/ drainage layer, drainage/water retention component, filter fabric, metal edging, lightweight engineered growing media, inspection chambers, erosion control, Checker Block®, and vegetation.

- SUBMITTALS

  - Certification that the extruded polystyrene insulation if used is free from CFC’s.

  - Provide product data on all components of the green roof assembly.

  - Evidence indicating that water is available at the roof level to ensure that the vegetation can receive sufficient moisture through proper maintenance of the green roof.

- QUALITY ASSURANCE

  - The Green Roof Installing Contractor shall demonstrate qualifications to perform the work of this Section by submitting the following documentation:

    - Certification or license by the green roof assembly supplier as a locally based, authorized applicator of the products the installer intends to use, for a minimum of five (5) years.

    - List of at least three (3) projects, satisfactorily completed within the past five (5) years of similar scope and complexity to this project.

  - Green Roof Supplier shall show evidence that the specified green roof assembly has been developed, marketed, supported, and installed for a minimum of fifteen (15) years on projects of similar complexity.

  - Pre-Construction Conferences. The manufacturer will meet with the necessary parties at the jobsite to review and discuss project conditions as it relates to the integrity of the roofing assembly.

- DELIVERY, STORAGE AND HANDLING

  - Deliver materials in original unopened containers of packaging clearly labeled with manufacturer’s name, brand name, instruction for use, all identifying numbers, and U.L. labels.

  - Materials shall be stored in a neat, safe manner, not to exceed the allowable structural capacity of the storage area.

  - Store materials in a clean, dry area protected from water and direct sunlight.

  - Vegetation shall be handled and stored in accordance with the Hydrotech® Garden Roof® Assembly Installation and Maintenance Guideline.

- PROJECT CONDITIONS

  - The project design professional shall design the assembly to remain in place withstanding the wind speeds and uplift pressures.

General Contractor shall assure that adequate protection is to the membrane and plantings to prevent damage from subsequent trade traffic.

- WARRANTY

  - Upon completion of the work, the contractor shall supply the owner with a single source warranty of U.S. origin direct from the manufacturer if applicable for the project.

  - Each warranty varies in scope and terms. (CONSULT SIKA HYDROTECH® FOR EXACT WARRANTY TERMS AND CONDITIONS TO MEET THE SPECIFIC PROJECT REQUIREMENTS.)

  - Warranties available from the manufacturer: (NOTE TO SPECIFIER: EDIT AS REQUIRED)

    - Material Warranty; excludes labor.

      - Duration: 2-, 5-, 10-, 20-year

    - Watertightness Warranty: includes labor and material to maintain watertight condition.

      - Duration: 5-, 10-, 15-, 20-year

    - Thermal Warranties; includes 90% retention of the original thermal value.

      - Duration 5-, 10-, 15-, 20-year

    - Total System Warranties; covers components of the green roof assembly, including membrane, flashing, insulation, Garden Roof® components, vegetation, pavers and Checker Block® ballast units. Includes removal and reinstallation of the insulation, Garden Roof® components, vegetation, pavers, Checker Block® ballast units and growing media (≤24 inches deep) when supplied, installed, and maintained per Sika Hydrotech® requirements, and replacement of Hydrotech® supplied roof substrate board.

      - Duration of Membrane/Flashing from date of installation:

        - 5-, 10-, 15-year (watertight condition)

      - Duration of Insulation from date of purchase:

        - 5-, 10-, 15-year (90% of original thermal value)

      - Material Integrity of Garden Roof® Components from date of purchase:

        - 5-, 10-, 15-, 20-year based on the membrane below

      - Duration of Pavers and Checker Block® ballast units from date of purchase

        - 5-, 10-year (will not crack, split, or delaminate due to freeze-thaw)

PART 2- PRODUCTS

- GENERAL

  - Refer to Section 1.05 SYSTEM DESCRIPTION. All components shall be obtained as a single source from the membrane / green roof manufacturer to ensure total system compatibility and integrity.

    - Manufacturer:

Sika Hydrotech®

100 Dan Road

Canton, Massachusetts 02021

1.888.509.3350

Web Site: www.hydrotechusa.com

- MATERIALS

  - Protection Course (NOTE TO SPECIFIER: EDIT AS REQUIRED; CERTAIN PROJECT CONDITIONS MAY WARRANT ADDITIONAL PROTECTION CONSULT SIKA HYDROTECH®)

    - Heavy-duty, rubberized asphalt 160-mil (4 mm) thick sheet; polyester reinforced and a granular surface with a factory and field-applied root growth regulator.

      - Hydrotech Hydroflex® RBII

      - Hydrotech SpinOut

  - Root Barrier (NOTE TO SPECIFIER: EDIT AS REQUIRED; NO ADDITIONAL ROOT BARRIER IS REQUIRED WITH HYDROTECH® HYDROFLEX ® RBII® AND SPINOUT)

    - A polyethylene root barrier. Lap the edge 5’ minimum without the use of tape.

      - Hydrotech® Root Stop® (3” to 8” depth Extensive assembly)

      - Hydrotech® Root Stop HD® (Lawn and Intensive Assembly)

      - Hydrotech® Root Stop Bamboo® (Clumping Bamboo Only; Running Bamboo should never be used)

    - Pressure-sensitive polyethylene tape for Rootstop and Rootstop HD. Lap edge 2.5’ when using tape.

      - Hydrotech® Root Stop Tape®

    - Heavy-duty, rubberized asphalt 160-mil (4 mm) thick sheet; polyester reinforced and a granular surface with a factory and field-applied root growth regulator.

      - Hydrotech Hydroflex® RBII

      - Hydrotech SpinOut

  - Prefabricated Drainage Course (NOTE TO SPECIFIER: EDIT AS REQUIRED)

    - Composite drainage system consisting of a three-dimensional, crush-proof, drainage core and a filter fabric.

      - Hydrotech® Hydrodrain® 300, 302, 400, 420, 700 or 1000 series.

  - Insulation (NOTE TO SPECIFIER: EDIT AS REQUIRED, CONSULT SIKA HYDROTECH® FOR RECOMMENDED PRODUCT TYPE)

    - Extruded polystyrene rigid board insulation for use above membrane.

      - Hydrotech® Dupont™ Styrofoam™ Insulation [TYPE] as manufactured by DuPont™, marketed by Sika Hydrotech®

      - Insulation shall meet ASTM C-578, Type VI or VII.

      - Minimum compressive strength, ASTM D-1621, 40 or 60 psi (276 or 414 kPa) (variance by type of product)

      - Maximum water absorption by volume per ASTM C-272, 0.3%

      - Water vapor permeance for 1" product per ASTM E-96, 0.8 perm (max.) (63 ng/Pa/s/m2).

      - Insulation shall have an R value of 5.0°F ft2 h/Btu/in. (0.88 K m2/W) of thickness when tested at 75°F (23.9°C) mean temperature in accordance with ASTM C-518

      - Product shall be free of CFC's

      - Product types available: Hydrotech® Dupont™ Styrofoam™, RoofMate; Ribbed RoofMate, PlazaMate, and High Load 100.

    - Extruded polystyrene rigid board insulation for use as flat fill and tapered insulation below roof substrate board. (NOTE TO SPECIFIER: EDIT AS REQUIRED, CONSULT SIKA HYDROTECH® FOR RECOMMENDED PRODUCT TYPE)

      - Hydrotech® Dupont™ Styrofoam™ Insulation [TYPE] as manufactured by DuPont™, marketed by Sika Hydrotech®

      - Insulation shall meet ASTM C-578, Type IV.

      - Minimum compressive strength, ASTM D-1621, 25 psi (172.4 kPa).

      - Maximum water absorption by volume per ASTM D-2842, 0.7%.

      - Water vapor permeance for 1" product per ASTM E-96, 1.1 perm (max.) (63 ng/Pa/s/m2)

      - Insulation shall have an R value of 5.0°F ft2 h/Btu/in. (0.88 K m2/W) of thickness when tested at 75°F (23.9°C) mean temperature in accordance with ASTM C-518

      - Product shall be free of CFC's.

      - Product types available:  Styrofoam™ brand, DeckMate Plus, DeckMate Plus FA, Tapered DeckMate Plus FA.

    - Expanded polystyrene geofoam insulation for use as structural fill. (NOTE TO SPECIFIER: EDIT AS REQUIRED, CONSULT SIKA HYDROTECH® FOR RECOMMENDED PRODUCT TYPE)

      - Geofoam Lightweight Fill using 100 percent virgin feedstock as manufactured by Atlas Molded Products and marketed by Sika Hydrotech®

      - Geofoam shall meet ASTM D6817.

      - Block size: [32”, 36”, 40”, 48”] x 96”

      - GeoFoam Type:

- EPS 12:

- Density: 0.70 lb/ft³ (11.2 kg/cu m) minimum.

- Compression Resistance: 2.2 psi (15 kPa) minimum at 1 percent strain.

- EPS 15:

- Density:  0.90 lb/ft³ (14.4 kg/cu m) minimum.

- Compressive Resistance: 3.6 psi (25 kPa) minimum at 1 percent strain.

- EPS 19:

- Density:  1.15 lb/ft³ (18.4 kg/cu m) minimum.

- Compressive Resistance: 5.8 psi (40 kPa) minimum at 1 percent strain.

- EPS 22:

- Density:  1.35 lb/ft³ (21.6 kg/cu m) minimum.

- Compressive Resistance: 7.3 psi (50 kPa) minimum at 1 percent strain.

- EPS 29:

- Density:  1.80 lb/ft³ (28.8 kg/cu m) minimum.

- Compressive Resistance: 10.9 psi (75 kPa) minimum at 1 percent strain.

- EPS 39:

- Density:  2.40 lb/ft³ (38.4 kg/cu m), minimum.

- Compressive Resistance: 15.0 psi (103 kPa) minimum at 1 percent strain.

- EPS 46:

- Density:  2.85 lb/ft³ (45.7 kg/cu m) minimum.

- Compressive Resistance: 18.6 psi (128 kPa) minimum at 1 percent strain.

      - Surface Burning: Class A, with Flame Spread Index (FSI) of <25, and Smoke Developed Index (SDI) of <450, in compliance with ASTM E84 or UL723.

  - Air Layer/ Drainage Layer (NOTE TO SPECIFIER: EDIT AS REQUIRED; AIR LAYER REQUIRED WHEN USING ROCK MINERAL WOOL)

    - A combination air/drainage layer shall be composed of a crush-proof core and non-woven filter fabric.

      - Hydrotech® Hydrodrain® 300 (above insulation)

      - Hydrotech® Hydrodrain® 302 (no insulation)

  - Drainage/Water Retention Component (NOTE TO SPECIFIER: EDIT AS REQUIRED, CONSULT SIKA HYDROTECH® FOR RECOMMENDED PRODUCT TYPE)

    - A three-dimensional, molded recycled polypropylene core with drainage channels on the bottom side and water retention reservoirs and aeration holes on the top side. Non-woven geotextile fabrics are bonded to the top and bottom sides.

      - Hydrotech® Gardendrain® GR10 (3” to 8” depth Extensive assembly)

      - Hydrotech® Gardendrain® GR25 (Lawn and Intensive Assembly)

    - Three-dimensional, molded panels of recycled polyethylene with drainage channels top and bottom sides and water retention reservoirs top side.

      - Hydrotech® Gardendrain® GR30 (Lawn and Intensive Assembly)

    - Expanded 5/16” - 3/8” lightweight aggregate for use as fill material in Gardendrain GR30 drainage/water retention component as required.

      - Hydrotech® LiteTop® Lightweight Aggregate

        - Expanded aggregate shall be filled at a rate of 2 cubic yards per 1,000 SF in Gardendrain cups.

    - A lightweight horticultural grade material made of long rock mineral wool fibers specially needled to form a compact and dimensionally stable felt. Product is made from virgin rock mineral fibers with no binders and has excellent water retention capacities.

      - Hydrotech® Rock Mineral Wool (3” to 8” depth Extensive assembly for additional retention)

    - A lightweight, high-compression strength (16,710 psf) drainage module manufactured from recycled polypropylene (PP) with 0.79-inch cells, providing large internal void volumes for increased drainage discharge capacity. Available in 8 pcs/bundle.

      - SikaRoof® VersiCell® 3050

        - Panel size: 19.625 in × 19.625 in × 1.18 in

        - Weight: 0.51 lb/ft²

        - Flow Rate: 1.32 gal/fts

      - SikaRoof® VersiCell® 2050

        - Panel size: 19.625 in × 19.625 in × 0.75 in

        - Weight: 0.41 lb/ft²

        - Flow Rate: 1.04 gal/fts

      - SikaRoof® VersiCell® 3150 Flex

        - Panel size: 19.625 in × 19.625 in × 1.18 in

        - Weight: 0.41 lb/ft²

        - Flow Rate: 1.32 gal/fts

  - Filter Fabric (NOTE TO SPECIFIER: EDIT AS REQUIRED)

    - Non-woven, UV stabilized, needle-punched, non-woven polypropylene fabric.

      - Hydrotech Systemfilter (above drainage/water retention component)

        - GR10, GR25, and Rock Mineral Wool – System filter fabric at penetrations only

        - GR30, SikaRoof® VersiCell® 3050, SikaRoof® VersiCell® 2050 and SikaRoof® VersiCell® 3150 Flex– Systemfilter above entire drainage layer and at penetrations

      - Hydrotech Stone Filter Fabric (below stone and above insulation)

  - Stone Ballast (NOTE TO SPECIFIER: EDIT AS REQUIRED)

      - Screened and washed stone gravel meeting ASTM D-448-80, gradations #2, #4 or #5 as directed by Sika Hydrotech®.

      - Submit alternate stone material for review by Sika Hydrotech®.

  - Metal Edging (NOTE TO SPECIFIER: EDIT AS REQUIRED; INDICATE SIZE AND FINISH OF GARDENEDGE® METAL EDGING AND ANY LEVELING STRIPS. MILL FINISH ALUMINUM IS STANDARD. COLOR COATINGS AND OTHER METALS ARE AVAILABLE INCLUDING STAINLESS STEEL; CONSULT SIKA HYDROTECH® FOR FURTHER DETAILS.)

    - Aluminum edging perforated to allow water flow as shown on plans and details.

      - Hydrotech® GardenEdge® Metal Edge Restraint; size as noted on plans and details.

      - Hydrotech® GardenEdge® Leveling Strips: available to accommodate sloped/level roof surfaces.

  - Inspection Chambers (NOTE TO SPECIFIER: EDIT AS REQUIRED; INDICATE SIZE OF GARDENHATCH® INSPECTION CHAMBER AND EXTENSIONS. CUSTOM SIZES ARE AVAILABLE; CONSULT SIKA HYDROTECH® FOR FURTHER DETAILS.)

    - 18-gauge stainless steel, over-drain inspection boxes, with perforated sides and removable lids. Extensions are available to increase the height for deeper media depth applications.

      - Hydrotech® GardenHatch® Inspection Chamber

      - Hydrotech® GardenHatch® Inspection Chamber Extensions

  - Growing Media: (NOTE TO SPECIFIER: CONSULT SIKA HYDROTECH® FOR ALTERNATE BLENDS.)

    - Custom growing media mix capable of supporting vigorous growth of the specified vegetation, complying with the following specification.

      - Hydrotech® Intensive LiteTop® Growing Media

| Property | Intensive LiteTop Growing Media* |
| --- | --- |
| Grain Size Distribution (ASTM F1632 Method B) |  |
| clay fraction (<0.002mm) | < 3% |
| silt fraction (0.075-0.002mm) | < 12% |
| passing #200 sieve (0.075mm) | < 15% |
| passing #60 sieve (0.25mm) | 5 - 25 % |
| passing #18 sieve (1.0mm) | 20 - 50 % |
| passing #10 sieve (2.0mm) | 30 - 60% |
| passing 1/8-inch sieve | 35 - 70 % |
| passing 1/4-inch sieve | 60 - 95% |
| passing 3/8-inch sieve | 95 - 100 % |
| Density (ASTM E2399) |  |
| Initial Media Density | (55 lbs – 75 lbs/cf) |
| Maximum Media Density | (76 lbs – 93 lbs/cf) |
| Water/Air Management (ASTM E2399) |  |
| saturated water capacity | > 40% |
| saturated air content | > 10% |
| total pore space | > 45% |
| Water Permeability |  |
| Hydraulic Conductivity | > 10 in/hr |
| pH, Lime, and Salt Content |  |
| pH (saturated paste) | 6.0 – 8.0 |
| EC salts content (water extract) | <3.0 mmhos/cm |
| Organics (LOI 550°C) (ASTM F1647 |  |
| Organic Matter content | 6 – 12 % |
| Compost Fraction |  |
| 1) Meet or exceed USEPA Class A standard, 40 CFR 503.13, Tables 1 & 3 (chemical contaminants) and 40 CFR 503.32(a) (pathogens) and/or be permitted in the state of origin to produce Class A material. |  |
| 2) Meet US Compost Council STA/TMECC criteria or equal for Class I or II stable, mature product. |  |
| *These value ranges shall be adjusted due to availability of local materials or special project conditions related to plant selection and/or environmental conditions. Certain blends may be slightly outside these ranges. |  |

  - Erosion Control Materials (NOTE TO SPECIFIER: EDIT AS REQUIRED)

    - Biodegradable Erosion Control Mat: Composed of woven jute netting (top and bottom) with 100% coconut fiber stitched between. 100% biodegradable material.

      - Fine Wind Erosion Blanket

    - Long Term Erosion Control Mat: Composed of polypropylene netting.

      - Hydrotech® GardMat ® N

    - Heavy-Duty Anchor: Composed of disk with connected plastic stem and friction-fit plastic top disk used to fasten GardMat® Erosion Control Mat or sedum carpet/ tile.

- Hydrotech® Disk Anchors (available in 12” or 18” depth)

    - Hydromulch

      - Wood fiber-based hydromulch with natural-based tackifier for use in securing sedum cuttings on roof.  Where hydromulching equipment is available and has access to roof; hydromulch shall be mixed with tackifier and applied as wet slurry to cutting installations.

    - Dry Hydromulch

      - Wood fiber or straw-based hydromulch with integrally mixed guar-based tackifier.  For use where hydromulching equipment and access is not possible.  Dry hydromulch shall be applied in accordance with the Hydrotech Garden Roof® Plants Installation and Maintenance Guideline.

  - Vegetation/Plantings (NOTE TO SPECIFIER: EDIT AS REQUIRED; CONSULT SIKA HYDROTECH® FOR BLEND AVAILABILITY)

      - Intensive Plants

      - Refer to Section 32 93 00 – Plants

    - Plugs

      - Hydrotech® Garden Roof® Plugs

      - 2-inch, 70 or 72-cell flat

      - Typical plant list consists of 4-7 sedum species and 2-3 herbaceous perennial species.

    - Sedum Cuttings

      - Hydrotech® Garden Roof® Sedum Cuttings

      - Typical plant list consists of 4-7 sedum species.

      - NOTE TO SPECIFIER: SELECT/SPECIFY CUTTING DENSITY:

        - 8 lb/100 sqft

        - 10 lb/100 sqft

        - 12 lb/100 sqft

        - 15 lb/100 sqft

        - Other (specify)

    - Vegetative Carpet

      - Hydrotech® Garden Roof® Extensive InstaGreen® Carpet

    - Vegetative Tile

      - Hydrotech® Garden Roof® Extensive InstaGreen® Tile

        - InstaGreen® Tile: [BLEND]

  - Hardscape Finish Materials (NOTE TO SPECIFIER: EDIT AS REQUIRED; CONSULT SIKA HYDROTECH® FOR PAVER AVAILABILITY)

    - Concrete Pavers

      - Architectural Finish Pavers

      - Refer to Section 32 14 00 – Unit Paving

    - Wood Tile

      - Wood Tile

      - Refer to Section 32 14 00 – Unit Paving

    - Porcelain Pavers

      - Porcelain Pavers

      - Refer to Section 32 14 00 – Unit Paving

    - Concrete Topping (NOTE TO SPECIFIER: EDIT AS REQUIRED; HYDROTECH® DUPONT™ STYROFOAM™ INSULATION, RECOMMENDS THE INCORPORATION OF AN AIR LAYER BETWEEN THE INSULATION AND CONCRETE. THE USE OF HYDRODRAIN® 300 FOR THIS PURPOSE IS RECOMMENDED.)

  - Structural Grate and Fastening Kit (NOTE TO SPECIFIER: EDIT AS REQUIRED)

    - GRT Structural Grate made of a blend of nylon, glass, and stabilizer manufactured by Greenrise™, marketed by Sika Hydrotech®.

      - Dimensions: 23.5” wide x 23.5” long x 1.1” height

      - Weight: 5.2 lbs per grate

      - Average breaking strength: >1,000 psf per ASCE-7 standards.

    - GRT Structural Grate Fastening Kit manufactured by Greenrise™, marketed by Sika Hydrotech®

      - Clover shaped fastener made of nylon, glass and stabilizer manufactured by Greenrise™, marketed by Sika Hydrotech®.

      - Stainless steel screws

  - Pedestals (NOTE TO SPECIFIER: EDIT AS REQUIRED; PEDESTALS TO BE SPECIFIED WITH STRUCTURAL GRATE)

    - GTR Fixed Head Pedestals made of polypropylene and rubber (head top), with adjustable height, security lock to prevent unlocking, manufactured by Greenrise™, marketed by Sika Hydrotech®.

      - Height: 1”-39”

      - Base diameter and thickness: 8” x 1/16”

      - Head diameter: 7”

      - Base contact surface area: 49”

      - Tab height and thickness: 1/2” x 5/32”

      - Compression strength: > 3,000 PSF

  - Artificial Turf (NOTE TO SPECIFIER: EDIT AS REQUIRED; CONSULT SIKA HYDROTECH® FOR AVAILABILE TYPE)

    - Artificial Turf [TYPE] manufactured by Greenrise™, marketed by Sika Hydrotech®.

      - Polypropylene thermoplastic (PP) blended with Polyethylene (PE) thatching

  - Pre-Vegetated Modular Trays (NOTE TO SPECIFIER: EDIT AS REQUIRED)

    - Pre-vegetated tray made of polypropylene 2030 black, growing media, and planting with built-in irrigation channels.

      - Gro Vista 4” Module marketed by Sika Hydrotech®– standard pre-vegetated tray module.

        - Dimension: 12” x 12” x 4”

        - Media Type: Extensive Engineered Soil

        - Plant Type: Standard Sedum Mix

    - Custom pre-vegetated modular trays made of polypropylene 2030 black, growing media, and custom planting with built-in irrigation channels.

      - GRT Vista Modular System marketed by Sika Hydrotech® custom pre-vegetated tray module.

        - Dimension: 12” x 12” x [4”, 6”, or 8”]

        - Media Type: Extensive Engineered Soil

        - Plant Type: Custom Plant Mix

  - Prefabricated Concrete Curbing (NOTE TO SPECIFIER: EDIT AS REQUIRED; INDICATE CONFIGURATION, LAYOUT, SIZE, COLOR, AND EDGE PROFILE OF ROCK CURB® IN SPECIFICATIONS, PLANS, AND DETAILS)

    - High density, hydraulically pressed, prefabricated concrete curbing units as shown on plans and details.

      - Hanover Architectural Products Rock Curb® as marketed by Sika Hydrotech®.

  - Checker Block Units (NOTE TO SPECIFIER: EDIT AS REQUIRED; INDICATE LOCATION OF CHECKER BLOCK UNITS AND INCLUDE CROSS SECTION DETAIL IN DRAWINGS)

    - Castellated pervious concrete grid unit made of high strength concrete with steel reinforcement. Each unit is cast in a grid of truncated concrete pyramids joined by horizontal concrete connectors. The grid unit is a nominal 24’’ x 24’’ x 4’’ deep and fabricated in accordance with ASTM C1319.

    - Hydrotech® Checker Block® manufactured by Nicolock and marketed by Sika Hydrotech®

      - Continuous and connected void spaces created by 16 truncated concrete pyramids joined by lower concrete connectors.

      - Stainless steel zip-ties as supplied by Sika Hydrotech®.

      - Disk Anchors as supplied by Sika Hydrotech®.

- RELATED MATERIALS

  - Intensive plant materials (specified elsewhere).

  - Metal counterflashing is typically required to provide protection to vulnerable flashing materials from damage due to gardening activities.

PART 3 EXECUTION

- INSPECTION

  - Prior to Garden Roof® Assembly installation, a Membrane Integrity Test should be performed prior to the placement of subsequent overburden. If leaks should occur, the water shall be drained completely, and the membrane installation repaired prior to overburden installation.

  - Refer to the Hydrotech® Garden Roof® Assembly Installation Guidelines.

- PREPARATION

  - Coordinate Garden Roof® material installation with roofing/ waterproofing applicator.

  - Confirm there are no leaks prior to installation of any Garden Roof® material.

- INSTALLATION

  - All Garden Roof® components shall be installed per manufacturer’s requirements.

  - Protection Course/ Root barrier (NOTE TO SPECIFIER: EDIT AS REQUIRED; NO ADDITIONAL ROOT BARRIER IS REQUIRED WITH HYDROTECH® HYDROFLEX ® RBII® AND SPINOUT)

- Hydrotech® Hydroflex® RBII

      - Protection/ root barrier protection course shall be embedded into the membrane while its still warm to ensure a good bond.

      - Adjoining sheet edges shall be overlapped 4” (100 mm) and sealed with a propane torch or additional MM6125 membrane.

- Hydrotech® SpinOut® shall be applied to all sheet edges.

  - The completed membrane/protection assembly shall be covered with subsequent topping materials as soon as possible, within 30 days of membrane installation

  - Root Barrier Protection (NOTE TO SPECIFIER: WHERE HYDROFLEX RBII® HAS BEEN SPECIFIED, NO ADDITIONAL ROOT PROTECTION SHALL BE REQUIRED. WHERE HYDROFLEX® 30/ROOT STOP® OR ROOTSTOP HD® HAS BEEN SPECIFIED, INSERT THE FOLLOWING TEXT BLOCK)

    - Root Stop shall be laid over the Hydroflex® 30, lapping adjacent sheets 5 feet (1.5 m). A minimum 30-inch overlap is acceptable when Root Stop Tape is used to continuously seal the lap edge. Root Stop shall be turned up all vertical roofed/flashed surfaces, installing additional material as required, to completely protect waterproofing and flashings.

  - Insulation (NOTE TO SPECIFIER: EDIT AS REQUIRED)

- Where specified, Hydrotech® Dupont™ Styrofoam™ Insulation shall be installed loose laid in accordance with manufacturer's recommendations.

  - Air/ Drainage Layer (NOTE TO SPECIFIER: ROCK MINERAL WOOL APPLICATION ONLY)

- A layer of Hydrodrain® 300 shall be installed over the insulation with edges butted together. The 4-inch (100 mm) selvage edge of the geotextile fabric overlaps adjoining sheets and can be held in place with duct tape.

  - Rock Mineral Wool (NOTE TO SPECIFIER: EDIT AS REQUIRED)

- Where specified, a layer of Rock Mineral Wool shall be installed over the air / drainage layer, flat and tightly butted together. If multiple layers of rock mineral wool are required, install subsequent layers at 90 degrees to the one below. Do not walk excessively over the rock mineral wool after installation.

  - Drainage/Water Retention Component. (NOTE TO SPECIFIER: EDIT AS REQUIRED)

- Gardendrain® GR10/ Gardendrain® GR25 shall be installed with white fabric surface up, over the root barrier protection, water retention mat (if used) or above the Styrofoam™ insulation (if used). Adjacent rolls shall be butt together with extra fabric along one edge folded over and lapped onto the adjacent roll. Gardendrain® shall be cut to fit around penetrations, etc. with a heavy-duty utility knife.

- Gardendrain® GR30 shall be installed with holes up, over the root barrier protection, water retention mat (if used) or above the Styrofoam™ insulation (if used). Adjacent panels shall be butt together. Gardendrain shall be cut to fit around vertical transitions at edgings, curbs and penetrations with a heavy-duty utility knife or small toothed saw.

- The cups of the Gardendrain® shall be filled with lightweight aggregate level with the top surface of the panels where required due to loading conditions. Lightweight aggregates are only used in Gardendrain® GR30.

- SikaRoof® VersiCell® shall be loosely laid and interlocked with adjacent modules connected by proprietary in-built clips to form a continuous drainage layer.

  - Filter Fabric (NOTE TO SPECIFIER: EDIT AS REQUIRED)

- For installations with Gardendrain® GR10 or Gardendrain® GR25:

  - Strips of Systemfilter® shall be installed at horizontal to vertical transitions at edgings, curbs and penetrations to contain LiteTop® engineered growing media. Systemfilter® shall overlap adjacent strips a minimum of 12 inches (300 mm) and may be secured with tape during the installation process.

  - Systemfilter® shall be installed to a height above the finished LiteTop® growing media elevation and any excess trimmed down to the level of the plant materials.

- For installations with Gardendrain® GR30, SikaRoof® VersiCell® 3050, SikaRoof® VersiCell® 2050 and SikaRoof® VersiCell® 3150 Flex:

      - Systemfilter® shall be installed fully over the Gardendrain® and SikaRoof® VersiCell®, lapping adjacent rolls a minimum of 12 inches (300 mm) and may be secured with tape during the installation process. Systemfilter® shall be installed vertically at all transitions edging, curbs, and penetrations to contain LiteTop® engineered growing media.

      - Systemfilter® shall be installed to a height above the finished LiteTop® growing media elevation and any excess trimmed down to the level of the plant materials.

- HARDSCAPE/ACCESSORY INSTALLATION

  - Stone or paver ballast shall be installed as shown on plans per wind design and fire break requirements at roof perimeters, building walls, penetrations, walkways and at access hatches.

  - Hydrotech® Checker Block® shall be installed per Sika Hydrotech® requirement as shown on details.

- Checker Block® shall be installed where indicated on plans and as required per ballasting requirements.

- Disk Anchors shall be installed in Checker Block® and elsewhere in Garden Roof® to the pattern required per the ballasting requirements established by Sika Hydrotech.®

- Stainless steel zip ties supplied by Sika Hydrotech® shall be used to connect Checker Block® units together as required.

  - Metal edge restraints, precast curbing and all specified edging materials shall be installed as shown on plans and details.

  - Drains shall be fitted with inspection/maintenance chambers and grills, built up to ensure access at growing media level as shown on plans and details.

  - Structural Gates shall be installed above pedestals. The clover shaped fastener is placed so the bottom protruding nubs fit into the corresponding holes in the corners of the structural grates. The provided screw is secured into the pedestal through the center hole of the fastener. Set the drill torque to its lowest setting when installing to prevent screw from breaking fastener or stripping pedestal head.

- GROWING MEDIA INSTALLATION

  - LiteTop® growing media shall be placed carefully to avoid damage or displacement of other materials such as walls, paving, drainage components, filter fabric, and roofing membrane.

- LiteTop® growing media shall be placed 1 inch greater than final grade or to a depth of no greater than 8 inches and compacted as described below. For final grades less than 8 inches only one round of compaction shall be performed and remaining growing media loosely placed such that top of growing media exceeds final grade by 1 inch. For final grades greater than 8 inches, place growing media at no greater than 6 inches and repeat procedure until growing media has been compacted within 1 inch of final grade.

- Compaction shall be performed with a 300 – 400 lb. water-filled lawn roller. Mechanical compactors including plate compactors are not recommended.

- Where Checker Block® is installed, roller compaction is not possible. Hand compaction shall be employed to properly compact media. Unless deeper media profile is specified, top of media shall be equal to or just higher than top of Checker Block® units.

- After compaction, remaining growing media shall be placed at 1 inch greater than final grade and thoroughly watered or jetted over entire area. Low settled areas shall be filled with additional growing media and re-wet to achieve uniform prescribed final grade.

- Erosion Control Mat. (NOTE TO SPECIFIER: EDIT AS REQUIRED)

- The erosion control mat shall be installed directly over the growing media and properly anchored into place.

  - Anchor fastening pattern is based on local wind speed, building height and roof slope.

  - Erosion control mat is not required when Sedum Carpet is installed; however, the Sedum Carpet shall be anchored in place with disk anchors as required.

- VEGETATION INSTALLATION

  - Intensive plant materials (specified elsewhere) shall be installed in accordance with the plans and specifications.

  - Extensive planting shall be installed in accordance with the Hydrotech® Garden Roof® Installation Guidelines.

  - Plant materials shall not be installed between the fall frost date and the following spring frost date.

  - Where Checker Block® is installed, media shall be properly placed before plant material is installed. Where InstaGreen® sedum carpet is used, no gaps shall exist between the bottom of the sedum carpet and the media placed in the Checker Block® units.

  - All vegetation shall be thoroughly watered and saturated immediately after installation. Media is saturated when water is seen flowing into roof drains from adjacent areas.

- PRE-VEGETATED MODULAR TRAY INSTALLATION

  - Pre-vegetated modules shall be installed in accordance with the Hydrotech® Extensive Garden Roof Installation Guidelines.

  - Stone Filter Fabric shall be installed under modules.

  - Plant materials shall not be installed between the fall frost date and the following spring frost date.

  - All vegetation shall be thoroughly watered and saturated immediately after installation.  Media is saturated when water is seen flowing into roof drains from adjacent areas.

- JOB COMPLETION

  - Clean up all debris and equipment.

- VEGETATION MAINTENANCE

  - Contractor/Installer shall maintain plantings in accordance with the Hydrotech® Garden Roof® Maintenance Guidelines.

  - Maintenance activities shall include, but are not limited to, the following:

- Periodic on-roof monitoring of vegetation.

- Watering to maintain proper growing media moisture content (especially during periods of hot and dry weather).

- Weeding to remove unwanted vegetation from planted areas and vegetation free zones.

- Removal of debris

- Reporting and photo-documentation of progress of vegetation during maintenance and warranty period.

  - Maintenance shall begin immediately after vegetation installation and shall continue throughout the two-year warranty period (from date of vegetation installation).

END OF SECTION

The preceding specifications are provided by Sika Corporation as a guide for informational purposes only and are not intended to replace sound engineering practice and judgment and shall not be relied upon for that purpose. Sika Corporation makes no warranty of any kind, either express or implied, as to the accuracy, completeness or the contents of these guide specifications. Sika Corporation assumes no liability with respect to the provision or use of these guide specifications, nor shall any legal relationship be created by, or arise from, the provision of such specifications  SIKA SHALL NOT BE RESPONSIBLE UNDER ANY LEGAL THEORY TO ANY THIRD PARTY FOR ANY DIRECT OR CONSEQUENTIAL DAMAGES OF ANY KIND ARISING FROM THE USE OF THESE GUIDE SPECIFICATIONS.  The specifier, architect, engineer or design professional or contractor for a particular project bears the sole responsibility for the preparation and approval of the specifications and determining their suitability for a particular project or application.

Prior to each use of any Sika product, the user shall always read and follow the warnings and instructions on the product's most current Technical Data Sheet, product label and Material Safety Data Sheet which are available at www.usa.sika.com/roofing or www.hydrotechusa.com or by calling (800) 933-7452.  Nothing contained in any Sika materials relieves the user of the obligation to read and follow the warnings and instructions for each Sika product as set forth in the current Technical Data Sheet, product label, and Material Safety Data Sheet prior to product use.